## Slide 1: ハンフリー10-2とOCTから算出する網膜神経節細胞数
田邉 義政1） 小川 俊平2,3） 野呂 隆彦2）4) 伊藤 義徳2)
奥出 祥代2） 郡司 久人1） 中野 匡2）
1）東京慈恵会医科大学附属柏病院 眼科
2）東京慈恵会医科大学 眼科学講座
3)厚木市立病院 眼科
4)スタンフォード大学

## Slide 2: 背景
網膜神経節細胞(RGC)の50%が黄斑部に集中しており（ref; Quigry?）、黄斑の機能と構造の関係を分析することは視覚の理解、ひいては緑内障の早期発見、経過観察に重要である。

## Slide 3: これまでのStructure-Function model

## Slide 4: 目的
今回我々は、HarwerthらのRGC数算出方法を応用し、ハンフリー視野10-2(HFA10-2)と光干渉断層計(OCT)からRGC数を算出し、検討したので報告する。

## Slide 5: 対象
2009年9月から2017年6月に慈恵医大附属病院眼科においてHFA10-2とOCTを同日に測定し、HFA10-2の信頼性指標と
OCT基準を満たす154症例、673データセット
HFAの信頼性(固視不良20%未満、偽陽性15%未満、偽陰性33%未満)
OCT（image quality 5/10 以上、複数回撮像のうち最良の画像を選択）
Notes: 2009年9月から2015年7月までに慈恵医大附属病院緑内障専門外来を受診した345例661眼のうちハンフリーの信頼性指標を満たす330例572眼です。開放隅角緑内障と正常眼圧緑内障を対象としました★

## Slide 6: 対象
平均±標準偏差 | POAG 258 | NTG 357 | PPG 14 | OHT 2 | Healthy 43 | All 673
平均年齢(歳) | 58.1±9.0 | 56.4±9.2 | 47.6±4.5 | 24.0±0.0 | 28.5±7.9 | 56.8±9.4
平均等価球面度数(D) | -5.62±4.1 | -4.94±3.3 | -5.40±0.3 | -7.19±0.3 | -3.15±2.3 | 
性別(F:M) | 98:160 | 118:238 | 14:0 | 0:2 | 35:8 | 230:400
MD(dB) 10-2? | -13.4 ±11 | -7.30 ±8.1 | 0.25 ±0.8 | -3.20 ±0.8 | -0.49±0.8 | -9.6±9.7
Mean +/- SD
One-way ANOVA
Notes: POAG,NTGの2群間で平均年齢とVFIに有意差は認められましたがそれ以外で有意差はありませんでした★

## Slide 7: 方法
同一日に測定、Medeirosらの方法を用いてRGC数を算出*
*Felipe A. Medeiros, et al, ArchOphthalmol. 2012
Humphrey視野計(HFA:Carl Zeiss）
Cirrus HD-OCT（OCT:Carl Zeiss）
optic disc cube 200×200
静的視野計
光干渉断層計
SITA Standard中心 10-2
測定機器
Notes: 実際の解析法ですが、ハンフリーシータスタンダード30－2とOCTのオプティックディスクキューブを同日に行い、患者の年齢、視神経乳頭の面積、平均網膜神経線維層厚、視野の実測値、MD値、年齢からＣＳＦＩを算出します★

## Slide 8: Weighted RGC
d=(-0.007*age)+1.4
c=(-0.26*MD)+0.12
a= averageRNFLthickness*10870*d
OCTrgc=10^({(log(a)*10]-c}*0.1)
m=[0.054*(ec*1.32)]+0.9
b=[-1.5*(ec*1.32)]-14.8
gc={[(s-1)-b]/m}+4.7
SAPrgc=∑10^(gc*0.1)
SAP
OCT
網膜神経節細胞数(RGC)をSAPおよびOCTから推定
wrgc=(1+MD/30)*OCTrgc+(-MD/30)*SAPrgc
FelipeA. Medeiros, et al, ArchOphthalmol. 2012
Notes: ここでCSFIの、算出法について、概略をご説明します。ＣＳＦＩは自動視野計と光干渉断層計の所見から、網膜神経節細胞数を推定し、正常眼に比べRGCがどの程度減少しているかを 表します。wrgcは初期はOCTから推定されるRGCに重きをおいて、後半は視野から推定されるRGCに重きをおいて計算されます★

## Slide 9: RGC_HFA
Medeiros FA. ArchOphthalmol. 2012
m=[0.054*(ec*1.32)]+0.9
b=[-1.5*(ec*1.32)]-14.8
gc={[(s-1)-b]/m}+4.7
RGC_HFA =[∑10^(gc*0.1)]/9
36/4 =9
30-2 6°
10-2 2°
ganglion cell quantity (gc)
visual field sensitivity (s)
eccentricity (ec)
Notes: RGC_HFAは、

## Slide 10: RGC_OCT
d = (−0.007*age) + 1.4
c = (−0.26*macular TD) + 0.12
a = ave cpRNFLT*θ/360*10870*d
RGC_OCT= 10^[(log(a)*10 −c)*0.1]
Zhang C. Ophthalmology 2014
cpRNFL
360
180

## Slide 11: RGC from cpRNFLT 360 degree vs. 180 degree
360 degree was better model
cpRNFL
360
180
Zhang C. Ophthalmol 2014

## Slide 12: 10-2測定点とcpRNFLTの対応
Nakanishi H. IOVS. 2016
Hood DC. Prog Retin Eye Res. 2013
Center 8 degree
Center 10 degree
135 degree
Notes: Clustering maps of VF test points and cpRNFLT sectors using EFA. The pattern matrix of the EFA for the combined 116 VF test points is shown in Supplementary Table S1, and the pattern matrix of the EFA for the 24 cpRNFLT sectors is shown in Supplementary Table S2. (A) Mapping of the factor numbers with the largest factor loadings of the 116 test points of combined 24-2 and 10-2 VF tests. By grouping the 116 VF test points based on the common factors with the largest factor loading, the EFA suggested that the VF test points could be grouped into nine VF clusters. Among them, clusters based on factor 8 and factor 9 contained two discontinuous VF test points and only one VF test point, respectively (shown in italics). According to the second largest factor loading, each VF test point was grouped into the cluster based on factors 3, 1, and 4, respectively (Supplementary Table S1). Finally, the combined 116 VF test points were grouped into seven VF clusters. (B) The EFA suggested that the 24 cpRNFLT sectors could be grouped into 11 clusters based on the common factor with the largest factor loading. (C, D) Color-coded maps showing the correlations between the VF test clusters and the cpRNFLT clusters. The correlation matrix of the 7 VF clusters and 11 cpRNFLT clusters is shown in Table 2. The mean degree of fovea–ONH center axis was −6.98° ± 3.85°.

## Slide 14: RGC displacement
Raza AS, et al. Arch Ophthalmol 2011
3.4°, 5.6°, 6.8°, 8.3°, 9.7°
1°, 3°, 5°, 7°, 9°

## Slide 15: RGC displacement
Hood DC. Prog Retin Eye Res. 2013

## Slide 16: RGC displacement
Raza AS, et al. Arch Ophthalmol 2011
3.4°, 5.6°, 6.8°, 8.3°, 9.7°
1°, 3°, 5°, 7°, 9°

## Slide 17: Displacedの方がOCT180°と一致
360°の関係も追加

## Slide 18: Harwerth model
中心RGCは発散

## Slide 19: Factor analysis

## Slide 21: Factor analysis; Clock hour
5 components

## Slide 22: broken stick model(区分回帰); dB
Wollstein, et al. BJO 2012.
75.3um
Mean RNFL(um)
Notes: Figure 1.
Healthy (H) and glaucoma (G) retinal nerve fibre layer (RNFL) thickness in the mean and in
quadrants with corresponding visual field threshold values. Spline fit is the grey line;
‘broken stick’ model is the black line.

## Slide 23: 1/L (Lambert)
dB = 10*log10(1/L)
1/L = 10^dB/10

## Slide 24: broken stick model; 1/Lambert
Wollstein, et al. BJO 2012.
77.0um
Notes: Figure 2.
Scatter plot of healthy (H) and glaucoma (G) values using unlogged (1/l) visual field
threshold values. The grey line is a spline fit, and the black line is the two-segment ‘broken
stick’ model. RNFL–retinal nerve fiber layer, L–Lambert.

## Slide 25: 1/L vs RGC from HFA10-2 & OCT (n=336)

## Slide 26: MD vs RGC from HFA10-2 & OCT (n=336)

## Slide 27: Bland Altman RGC_HFA10-2, RGC_OCT
Bland Altman法

## Slide 28: Bland Altman RGC_HFA30-2, RGC_OCT
Bland Altman法
田邉ら 日本視野学会2017
Notes: HFARGCとOCTRGCの関係をブランドーアルトマン法をもちいて検討しました。
左の図において両者の決定係数は０．８２と強い相関をみとめるものの、右図より有意な比例誤差を認めます(R^2=0.34, P<0.001)。
（測定法により、算出されるRGC数に差があることが証明された）

## Slide 29: RGC_HFA10-2 vs RGC_HFA30-2 (n = 67)

## Slide 30: RGC_HFA10-2 vs MD10-2 (n= 67)
RGC_HFA10-2 vs RGC_OCT
R = 0.9175
P = 1.0069e-27

## Slide 31: RGC_HFA10-2 vs MD30-2 (n= 67)
RGC_HFA10-2 vs MD30-2
R = 0.787
P = 1.0069e-27

## Slide 32: RGC_HFA30-2 vs MD30-2 (n= 67)
R = 0.916

## Slide 33: Combined 30-2 with 10-2
 | 27° | 21° | 15° | 9° | 7° | 5° | 3° | 1° |  |  |  |  |  |  |  | 
 | 上鼻側 |  |  | 1 |  |  | 2 |  |  | 3 |  |  | 4 |  | 上耳側 | 
21° |  |  | 5 | 6 |  |  | 7 |  |  | 8 |  |  | 9 | 10 |  | 
15° |  | 11 | 12 | 13 |  |  | 14 |  |  | 15 |  |  | 16 | 17 | 18 | 
9° | 19 | 20 | 21 | 22 |  |  | 23 | 2 | 3 | 24 |  |  | 25 | 26 | 27 | 28
7° |  |  |  |  |  | 5 | 6 | 7 | 8 | 9 | 10 |  |  |  |  | 
5° |  |  |  |  | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 |  |  |  | 
3° | 29 | 30 | 31 | 32 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 35 | × | 37 | 38
1° |  |  |  | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 |  |  | 
 |  |  |  | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 |  |  | 
 | 39 | 40 | 41 | 42 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 45 | × | 47 | 48
 |  |  |  |  | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 |  |  |  | 
 |  |  |  |  |  | 67 | 68 | 69 | 70 | 71 | 72 |  |  |  |  | 
 | 49 | 50 | 51 | 52 |  |  | 53 | 74 | 75 | 54 |  |  | 55 | 56 | 57 | 58
 |  | 59 | 60 | 61 |  |  | 62 |  |  | 63 |  |  | 64 | 65 | 66 | 
 |  |  | 67 | 68 |  |  | 69 |  |  | 70 |  |  | 71 | 72 |  | 
 | 下鼻側 |  |  | 73 |  |  | 74 |  |  | 75 |  |  | 76 |  | 下耳側 | 
 |  |  |  |  |  |  |  |  | 右眼 |  |  |  |  |  |  | 

## Slide 34: Combined 30-2 with 10-2
 | 27° | 21° | 15° | 9° | 7° | 5° | 3° | 1° |  |  |  |  |  |  |  | 
 | 上鼻側 |  |  | 1 |  |  | 2 |  |  | 3 |  |  | 4 |  | 上耳側 | 
21° |  |  | 5 | 6 |  |  | 7 |  |  | 8 |  |  | 9 | 10 |  | 
15° |  | 11 | 12 | 13 |  |  | 14 |  |  | 15 |  |  | 16 | 17 | 18 | 
9° | 19 | 20 | 21 | 22 |  |  | 23 | 3 | 3 | 24 |  |  | 25 | 26 | 27 | 28
7° |  |  |  |  |  | 3 | 3 | 3 | 3 | 3 | 3 |  |  |  |  | 
5° |  |  |  |  | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 |  |  |  | 
3° | 29 | 30 | 31 | 32 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 35 | × | 37 | 38
1° |  |  |  | 3 | 3 | 3 | 1 | 4 | 2 | 2 | 2 | 2 | 2 |  |  | 
 |  |  |  | 1 | 1 | 1 | 1 | 1 | 5 | 2 | 2 | 2 | 2 |  |  | 
 | 2 | 2 | 2 | 7 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 45 | × | 47 | 48
 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 
 |  |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 
 | 2 | 2 | 2 | 2 |  |  | 7 | 1 | 1 | 7 |  |  | 7 | 3 | 5 | 5
 |  | 2 | 2 | 2 |  |  | 2 |  |  | 63 |  |  | 64 | 65 | 66 | 
 |  |  | 2 | 2 |  |  | 3 |  |  | 70 |  |  | 71 | 72 |  | 
 | 下鼻側 |  |  | 3 |  |  | 3 |  |  | 75 |  |  | 76 |  | 下耳側 | 
 |  |  |  |  |  |  |  |  | 右眼 |  |  |  |  |  |  | 
 | 上鼻側 |  |  |  | 3 | 3 |  |  | 上耳側 |  | 
 |  |  | 3 | 3 | 3 | 3 | 3 | 3 |  |  | 
 |  | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 |  | 
 |  | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 |  | 
 | 3 | 3 | 3 | 1 | 4 | 2 | 2 | 2 | 2 | 2 | 10°
 | 1 | 1 | 1 | 1 | 1 | 5 | 2 | 2 | 2 | 2 | 
 |  | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 |  | 
 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 
 |  |  | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 
 | 下鼻側 |  |  |  | 1 | 1 |  |  | 下耳側 |  | 
 |  |  |  |  | 右眼 |  |  |  |  |  | 

## Slide 35
 |  |  | 上鼻側 |  |  | 1 | 1 | 1 | 4 |  | 上耳側 |  |  | 
 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 4 |  |  |  | 
 |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 4 | 4 |  |  | 
 |  |  | 1 | 1 | 1 | 1 | 6 | 6 | 6 | 1 | 4 | 5 |  | 
 |  |  | 1 | 1 | 1 | 6 | 6 | 6 | 6 | 6 | 5 | 5 |  | 
 |  |  | 2 | 2 | 2 | 7 | 7 | 7 | 7 |  | 5 | 5 |  | 
 |  |  | 2 | 2 | 2 | 2 | 7 | 7 | 7 | 3 | 5 | 5 |  | 
 |  |  |  | 2 | 2 | 2 | 2 | 7 | 3 | 3 | 3 |  |  | 
 |  |  |  |  | 2 | 2 | 3 | 3 | 3 | 3 |  |  |  | 
 |  |  | 下鼻側 |  |  | 3 | 3 | 3 | 3 |  | 下耳側 |  |  | 
 |  |  |  |  |  |  | 右眼 |  |  |  |  |  |  | 
 | 上鼻側 |  |  | 1 | 2 | 3 | 4 |  | 上耳側 |  | 
 |  |  | 5 | 6 | 7 | 8 | 9 | 10 |  |  | 
 |  | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 |  | 
 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 
 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 30°
 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 
 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 
 |  | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 |  | 
 |  |  | 67 | 68 | 69 | 70 | 71 | 72 |  |  | 
 | 下鼻側 |  |  | 73 | 74 | 75 | 76 |  | 下耳側 |  | 
 |  |  |  |  | 右眼 |  |  |  |  |  | 

## Slide 36: 10-2 Nakanishi et al. vs Ours
 |  |  |  | 3 | 3 |  |  |  | 
 |  | 3 | 3 | 3 | 3 | 3 | 3 |  | 
 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 
 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 
3 | 3 | 3 | 1 | 4 | 2 | 2 | 2 | 2 | 2
1 | 1 | 1 | 1 | 1 | 5 | 2 | 2 | 2 | 2
 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 
 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 
 |  | 1 | 1 | 1 | 1 | 1 | 1 |  | 
 |  |  |  | 1 | 1 |  |  |  | 

## Slide 37
22 |  |  | 23 | 3 | 3 | 24 |  |  | 25
 |  | 3 | 3 | 3 | 3 | 3 | 3 |  | 
 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 
32 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 35
3 | 3 | 3 | 1 | 4 | 2 | 2 | 2 | 2 | 2
1 | 1 | 1 | 1 | 1 | 5 | 2 | 2 | 2 | 2
7 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 45
 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 
 |  | 1 | 1 | 1 | 1 | 1 | 1 |  | 
2 |  |  | 7 | 1 | 1 | 7 |  |  | 7

## Slide 38
 |  |  |  | 3 | 3 |  |  |  | 
 |  | 3 | 3 | 3 | 3 | 3 | 3 |  | 
 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 
 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 
3 | 3 | 3 | 1 | 4 | 2 | 2 | 2 | 2 | 2
1 | 1 | 1 | 1 | 1 | 5 | 2 | 2 | 2 | 2
 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 
 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 
 |  | 1 | 1 | 1 | 1 | 1 | 1 |  | 
 |  |  |  | 1 | 1 |  |  |  | 
Chart: Clock hour
 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30

## Slide 40
Parallel analysis suggests that the number of factors = 5 and the number of components = 3
POAG N = 853

## Slide 41
Chart: Clock hour
 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
POAG N = 853
Cumulative Var = 0.73

## Slide 42
Chart: Clock hour
 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
3
3
4
4

## Slide 43
 |  |  |  | 3 | 3 |  |  |  | 
 |  | 3 | 3 | 3 | 3 | 3 | 3 |  | 
 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 
 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 
3 | 3 | 3 | 1 | 4 | 2 | 2 | 2 | 2 | 2
1 | 1 | 1 | 1 | 1 | 5 | 2 | 2 | 2 | 2
 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 
 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 
 |  | 1 | 1 | 1 | 1 | 1 | 1 |  | 
 |  |  |  | 1 | 1 |  |  |  | 
Chart: Clock hour
 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30

## Slide 46: A model is a model
Raza SA, Hood CD. IOVS 2015

## Slide 47: 30-2 測定点配置
 | 上耳側 |  |  | 4 | 3 | 2 | 1 |  | 上鼻側 |  |  |  |  | 上鼻側 |  |  | 1 | 2 | 3 | 4 |  | 上耳側 |  | 
 |  |  | 10 | 9 | 8 | 7 | 6 | 5 |  |  |  |  |  |  |  | 5 | 6 | 7 | 8 | 9 | 10 |  |  | 
 |  | 18 | 17 | 16 | 15 | 14 | 13 | 12 | 11 |  |  |  |  |  | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 |  | 
 | 28 | 27 | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 |  |  |  | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 
30° | 38 | 37 | 36 | 35 | 34 | 33 | 32 | 31 | 30 | 29 |  |  |  | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 30°
 | 48 | 47 | 46 | 45 | 44 | 43 | 42 | 41 | 40 | 39 |  |  |  | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 
 | 58 | 67 | 56 | 55 | 54 | 53 | 52 | 51 | 50 | 49 |  |  |  | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 
 |  | 66 | 65 | 64 | 63 | 62 | 61 | 60 | 59 |  |  |  |  |  | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 |  | 
 |  |  | 72 | 71 | 70 | 69 | 68 | 67 |  |  |  |  |  |  |  | 67 | 68 | 69 | 70 | 71 | 72 |  |  | 
 | 下耳側 |  |  | 76 | 75 | 74 | 73 |  | 下鼻側 |  |  |  |  | 下鼻側 |  |  | 73 | 74 | 75 | 76 |  | 下耳側 |  | 
 |  |  |  |  | 左眼 |  |  |  |  |  |  |  |  |  |  |  |  | 右眼 |  |  |  |  |  | 

## Slide 48: 10-2 測定点配置
 | 上耳側 |  |  |  | 3 | 2 |  |  | 上鼻側 |  |  |  |  | 上鼻側 |  |  |  | 2 | 3 |  |  | 上耳側 |  | 
 |  |  | 10 | 9 | 8 | 7 | 6 | 5 |  |  |  |  |  |  |  | 5 | 6 | 7 | 8 | 9 | 10 |  |  | 
 |  | 18 | 17 | 16 | 15 | 14 | 13 | 12 | 11 |  |  |  |  |  | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 |  | 
 |  | 27 | 26 | 25 | 24 | 23 | 22 | 21 | 20 |  |  |  |  |  | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 |  | 
10° | 38 | 37 | 36 | 35 | 34 | 33 | 32 | 31 | 30 | 29 |  |  |  | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 10°
 | 48 | 47 | 46 | 45 | 44 | 43 | 42 | 41 | 40 | 39 |  |  |  | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 
 |  | 67 | 56 | 55 | 54 | 53 | 52 | 51 | 50 |  |  |  |  |  | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 |  | 
 |  | 66 | 65 | 64 | 63 | 62 | 61 | 60 | 59 |  |  |  |  |  | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 |  | 
 |  |  | 72 | 71 | 70 | 69 | 68 | 67 |  |  |  |  |  |  |  | 67 | 68 | 69 | 70 | 71 | 72 |  |  | 
 | 下耳側 |  |  |  | 75 | 74 |  |  | 下鼻側 |  |  |  |  | 下鼻側 |  |  |  | 74 | 75 |  |  | 下耳側 |  | 
 |  |  |  |  | 左眼 |  |  |  |  |  |  |  |  |  |  |  |  | 右眼 |  |  |  |  |  | 

## Slide 49: 30-2 測定点配置
 | 上鼻側 |  |  | 1 | 2 | 3 | 4 |  | 上耳側 |  | 
 |  |  | 5 | 6 | 7 | 8 | 9 | 10 |  |  | 
 |  | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 |  | 
 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 
 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 30°
 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 
 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 
 |  | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 |  | 
 |  |  | 67 | 68 | 69 | 70 | 71 | 72 |  |  | 
 | 下鼻側 |  |  | 73 | 74 | 75 | 76 |  | 下耳側 |  | 
 |  |  |  |  | 右眼 |  |  |  |  |  | 

## Slide 50: 10-2 測定点配置
 | 上鼻側 |  |  |  | 2 | 3 |  |  | 上耳側 |  | 
 |  |  | 5 | 6 | 7 | 8 | 9 | 10 |  |  | 
 |  | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 |  | 
 |  | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 |  | 
 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 10°
 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 
 |  | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 |  | 
 |  | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 |  | 
 |  |  | 67 | 68 | 69 | 70 | 71 | 72 |  |  | 
 | 下鼻側 |  |  |  | 74 | 75 |  |  | 下耳側 |  | 
 |  |  |  |  | 右眼 |  |  |  |  |  |